## EYRES MONSELL CLUB FOR YOUNG PEOPLE

Whitteney Drive South, Eyres Monsell, Leicester.

LE2 9AQ

Tel: 0116 277 9190

# Fire policy and procedure

- All staff should know where the fire extinguishers are and how to use them.

- All staff and young people should know where the fire exits are. All fire exits should be clearly labelled with appropriate signage

- All staff and young people should know where the assembly point is and who to report to.

- Always take a daily register and record anyone who subsequently leaves or enters the premises.

- All fire exits must be kept clear at all times.

- All combustible litter must be cleared away and disposed of outside the building.

- Fire exits should never be locked.

- Fire equipment must not be used for any purpose or which it is not intended, i.e.-holding open doors.

- At the end of the working day all power supplies which are not required must be shut down and disconnected.

- No Smoking in the building.

- There will be a fire drill once a week that will be recorded in the log book.

- If there is a fire in the building:

- Break nearest alarm glass/raise the alarm

- Call the fire brigade 999.

- Clear all the young people and staff from the building.

- Meet at the assembly point the car park.

- Call A register of people including young people and staff.

- Each member of staff is given a responsibility to:

- Call 999

- Pick up the register

- Check the toilets

- Check the hall

- Posters are displayed in the building to display the evacuation procedures for people in the building

See Fire Risk Assessment

Revised June 2010

Louise Mcguire